Facility 2: Main Restroom in Middle of Park)

* Includes Men’s and Ladies Restroom
* Remove and replace fixtures, shall be automatic.
* Remove and replace partitions and accessories with commercial grade
* Repaint bathrooms with same color
* New floor coating with epoxy
* Remove and replace lighting with LED lights
* Remove old hand dryer and replace with new one with same or similar type
* Add new baby change station
* Remove and replace water cooler with same or similar brand.