Facility 5: (Tennis Courts)

* Total rebuild to match existing bathrooms. Same size as current restrooms which shall consist of one (1) Men’s Restroom and one (1) Women’s Restroom.
* Dimensions shall be 18X18, 324 sq. ft.
* The design and material shall match the existing restrooms through the park.
* Tin room to match existing restrooms at park.
* Include demo and removal of existing restroom, grading, new slab electrical, HVAC, fixtures, paint, water fountain.
* Fixtures shall be automatic.
* Men’s restroom shall consist of one (1) commercial grade toilet with commercial grade partition and one (1) commercial grade urinal.
* Women’s restroom shall consist of two (2) commercial grade toilets with commercial grade partition.
* Each restroom shall consist of one commercial grade sink.
* Flooring shall be epoxy.